| Energy Myths (collected by Jonathan Beers) |  |
| --- | --- |

This collection of myths is intended to spark discussion, not to be dogma.

- Keeping fluorescent lights (or computers) on is cheaper than turning them off, and makes them last longer. (Power surge myth, wearing out computer myth).

- It costs as much to catch up as is saved by setting back temperatures. (Summer version: It's better to leave your air conditioner at the same temperature all summer.) (Boiler version: don't setback boilers).

- Switching to an electric space heater (or an open hearth fireplace) saves money because the rest of the house is allowed to get colder.

- Replacing windows reduces heating bills a lot, and is cost effective.

- Fixing leaky windows and doors is the best way to save energy.

- Caulking and weatherstripping saves a lot of energy.

- In-floor radiant heat saves energy.

- In Wisconsin, "Geothermal" heating and A/C reduces pollution and saves a lot of money on natural gas bills.

- Adding new siding (especially if 1/2 inch of insulation is added behind it) reduces heating bills a lot.

- To cool (or heat) a house quickly, set the thermostat lower (or higher) than the desired temperature.

- Running the furnace fan continuously is always a good idea.

- Fluorescent lights flicker, hum, and have ugly light. Plus, they're unhealthy.

- Heat rises, so if your attic is insulated you needn't worry about wall insulation.

- Running a humidifier saves energy.

- You don't need a dehumidifier if you have central air-conditioning.

- Moisture problems are caused by houses that are too tight.

- Furnaces dry out houses.

- Houses need to breathe, so you shouldn't get them too airtight.

- Insulation makes a house tight.

- When you turn off a computer or TV or videogame system, it's not using any electricity. (Off means off.)

- Duct tape is good for sealing ducts.

- Sealing ducts in basements saves significant amounts of energy.

- Ducts need to be cleaned regularly

- Running ceiling fans in reverse in the winter saves energy.

- Leave ceiling fans running in the summer to reduce cooling costs.

- Radiant barriers in attics save energy in cold climates.

- Power factor correction devices save electricity.

- Powered attic fans save on air-conditioning and keep you cool in the summer.

- Attic vents provide fresh air to living spaces.

- Shading an air conditioner reduces cooling costs.

- A smaller air conditioner running continuously uses more energy than a larger one cycling on and off ("The larger the air conditioner, the better for cooling" myth).

- Warm water rinses get clothes cleaner.

- Soil is a good insulator, so insulating basements doesn't pay.

- Foam gaskets on electrical outlets will significantly reduce air leakage.

- Energy efficiency is the same as energy reduction.

- Cleaning fridge coils saves electricity.

- Opening the fridge door wastes a lot of electricity.

- Changing furnace filters saves a lot of energy.

- Furnace tune-ups save energy.

- Furnaces more than 20 years old are less than 70% efficient.

- If insulation is missing from a small area it doesn't matter much.

- Use clear glass, not low-E on the south side of houses in Wisconsin.